## Slide 1
Inv_active_power
Inv_rated_power
Inv_A_volt
Inv_B_volt
Inv_C_volt
Inv_Frequency
Inv_A_Curr
Inv_B_Curr
Inv_C_Curr
KW last 24 Hours
KWh last 31 Days VS Savings
Yield Today KWh
101
Yield Total KWh
10021
Inverter Max Production
101
Recorded On
12 MAR 2022
PKR SAVED
101
TREES SAVED
10021
Inverter ID
Inverter Brand
Growatt
3
Inverter Model
60KTL
Inverter Serial
ABDCFERFASDASD
Installed PV
55.2
Module Serial
M-14-10003
Site Name
APS Campus 2, Khariyan
Inverter Status
Inverter Fault Code
ON GRID
E-3456
EFFICIENCY
Monitor Comms
Inverter Comms

## Slide 2
Param | PV-1 | PV-2 | PV-3 | PV-4 | PV-5 | PV-6 | PV-7 | PV-8 | PV-9 | PV-10
Voltage |  |  |  |  |  |  |  |  |  | 
Current |  |  |  |  |  |  |  |  |  | 
Power |  |  |  |  |  |  |  |  |  | 
Inv_PV1_Volt * Inv_PV1_Curr
Inv_PV1_Curr
Inv_PV1_Volt
KWH last 12 months VS Savings
Inv_active_power
Inv_rated_power
Yield Today KWh
101
Yield Total KWh
10021
Inverter Max Production
101
Recorded On
12 MAR 2022
PKR SAVED
101
TREES SAVED
10021
EFFICIENCY

## Slide 3
Recorded Data
Last 24 Hours (/10mins record KWh Production)
Last 30 Days (Record KWh Production / Day)
Last 12 Months (Record KWh Production / Month)
Maximum KW recorded against date

## Slide 4
Non functional requirements
- Auto Bluetooth reconnect
Always open same application on reboot, uer must not be able to goto OS level or exit
Logo on boot screen
Piracy protection
No screen saver or lock screen
On the air updates

## Slide 5
#Inv_id(int)^ Inv_enabled(int)^Inv_status(string)^Inv_status_manip(int)^
Inv_yield_today(float)^Inv_yield_total(float)^Inv_active_power(float)^
Inv_reactive_power(float)^Inv_rated_power(float)^Inv_PV_installed(float)^
Inv_PF(float)^Inv_Frequency(float)^Inv_A_Curr(float)^Inv_B_Curr(float)^
Inv_C_Curr(float)^Inv_A_volt(float)^Inv_B_volt(float)^Inv_C_volt(float)^Inv_temp(float)^ Inv_PV1_Curr(float)^Inv_PV1_Volt(float)^Inv_PV2_Curr(float)^Inv_PV2_Volt(float)^
Inv_PV3_Curr(float)^Inv_PV3_Volt(float)^Inv_PV4_Curr(float)^Inv_PV4_Volt(float)^
Inv_PV5_Curr(float)^Inv_PV5_Volt(float)^Inv_PV6_Curr(float)^Inv_PV6_Volt(float)^
Inv_PV7_Curr(float)^Inv_PV7_Volt(float)^Inv_PV8_Curr(float)^Inv_PV8_Volt(float)^
Inv_PV9_Curr(float)^Inv_PV9_Volt(float)^Inv_PV10_Curr(float)^Inv_PV10_Volt(float)*
Serial Data format from Controller to Android

## Slide 6
#Inv_num(int)^
Inv1_id(int)^Inv1_brand(int)^Inv1_model(int)^
Inv2_id(int)^Inv2_brand(int)^Inv2_model(int)^
Inv3_id(int)^Inv3_brand(int)^Inv3_model(int)^
Inv4_id(int)^Inv4_brand(int)^Inv4_model(int)^
Inv5_id(int)^Inv5_brand(int)^Inv5_model(int)*
Serial Data format from Android to Controller